## Quotation (Breakup)
EcoSoch Solar Pvt. Ltd. #940, "Sha Arcade", 2nd Phase, NTI Layout, Rajiv Gandhi Nagar, Kodigehalli, Bengaluru - 560097 Tel: 81234 10101 e-mail: info@ecosoch.com web: www.ecosoch.com Company's GSTIN : 29AADCE8640G1ZH
Bill of Materials
Sl.No. | Description | Size/Model | Brand/Vendor | Qty |  | Amount
Rs.
1 | Solar Panels |  |  |  | Nos
2 | Microinverters | IQ8P with Q cable | Enphase |  | Nos
3 | Enphase Accessories | Envoy monitoring system |  | 1 | Set
4 | AC Electrical Accessories |  | Standard materials | 1 | Set
5 | Mounting Structures |  |  | 1 | Set
6 | DC Cables with MC4 connectors | 4 sq.mm | Siechem/Polycab | 1 | Set
7 | AC Cables | Cu Flexible cables |  | 1 | Set
8 | Earthing |  |  | 1 | Set
9 |  |  |  | 1 | Nos
Services
10 | Turnkey Services |  | Design, Engg., Installation & Commissioning
11 | DISCOM Liaison, Regn & Meter charges
12 | Transportation + Labour
Sub. Total
GST @ 13.8%
Total
Subsidy
Terms and Conditions
| Transportation |  |  | Delivery
| Included in the quote above |  |  | Within 6 weeks from the date of PO with advance
| Payment Terms |  |  | Packaging
| 50% Advance with PO 40% against delivery of all materials ​10% after installation and within 10 days of commissioning |  |  | Included in the cost
| Validity |  |  | Commissioning
Within 8 weeks (subject to site readiness and DISCOM approvals)
| Workmanship Warranty: | Inverter Warranty: |  | Solar Panel Warranty:
Modules have 12 years product warranty and 25 years of performance warranty
| Subsidy | Our Bank Details : |  | Customer Scope
| Subsidy will be credited to the bank account of the beneficiary directly by the Central Govt. within 30 working days of claim submission, provided all the details mentioned in the claim and application are found correct. | A/c Name: EcoSoch Solar Pvt Ltd A/c No.: 922030051004972 IFSC CODE: UTIB0004216 Bank Name: Axis Bank Limited Branch Address: Mico Layout BNGR KT, Bengaluru - 560078 Account Type: OD Account
Notes: | Please note that the On-Grid rooftop system will not generate power if the Grid connection is not available. GST of 13.8% (70% of project Value at 12% GST and 30% of project Value will be at 18% GST). GST will be as applicable at the time of invoice.
| For EcoSoch Solar AUTHORISED SIGNATORY | EcoSoch Scope : Design, procurement of above-mentioned materials, installation and testing of above mentioned on-grid system. Our scope is up to the inverter AC interconnection point. Installation of Solar modules for above mentioned system and Installation of Grid-tied Micro Inverter Supply and Installation of the Aluminum mountings with clamps. Supply and Installation of Junction boxes and Earthing kit. Designing of the Structure and Panel Layout EcoSoch Solar reserves the right to choose an equivalent make based upon the availability of the material at the time of delivery and our assessment during detailed engineering. Customer would be informed of the change beforehand.

## Quotation(Summary)
EcoSoch Solar Pvt. Ltd. #940, "Sha Arcade", 2nd Phase, NTI Layout, Rajiv Gandhi Nagar, Kodigehalli, Bengaluru - 560097 Tel: 81234 10101 e-mail: info@ecosoch.com web: www.ecosoch.com Company's GSTIN : 29AADCE8640G1ZH
Bill of Materials
Sl.No. | Description | Size/Model | Brand/Vendor | Qty |  | Amount
Rs.
1 | Solar Panels |  |  |  | Nos
2 | Microinverters | IQ8P with Q cable | Enphase |  | Nos
3 | Enphase Accessories | Envoy monitoring system |  | 1 | Set
4 | AC Electrical Accessories |  | Standard materials | 1 | Set
5 | Mounting Structures |  |  | 1 | Set
6 | DC Cables with MC4 connectors | 4 sq.mm | Siechem/Polycab | 1 | Set
7 | AC Cables | Cu Flexible cables |  | 1 | Set
8 | Earthing |  |  | 1 | Set
9 |  |  |  | 1 | Nos
Solar Panels
10 | Turnkey Services |  | Design, Engg., Installation & Commissioning
11 | DISCOM Liaison, Regn & Meter charges
12 | Transportation + Labour
Sub. Total
GST @ 13.8%
Total
Subsidy
Terms and Conditions
| Transportation |  |  | Delivery
| Included in the quote above |  |  | Within 6 weeks from the date of PO with advance
| Payment Terms |  |  | Packaging
| 50% Advance with PO 40% against delivery of all materials ​10% after installation and within 10 days of commissioning |  |  | Included in the cost
| Validity |  |  | Commissioning
Within 8 weeks (subject to site readiness and DISCOM approvals)
| Workmanship Warranty: | Inverter Warranty: |  | Solar Panel Warranty:
Modules have 12 years product warranty and 25 years of performance warranty
| Subsidy | Our Bank Details : |  | Customer Scope
| Subsidy will be credited to the bank account of the beneficiary directly by the Central Govt. within 30 working days of claim submission, provided all the details mentioned in the claim and application are found correct. | A/c Name: EcoSoch Solar Pvt Ltd A/c No.: 922030051004972 IFSC CODE: UTIB0004216 Bank Name: Axis Bank Limited Branch Address: Mico Layout BNGR KT, Bengaluru - 560078 Account Type: OD Account
Notes: | Please note that the On-Grid rooftop system will not generate power if the Grid connection is not available. GST of 13.8% (70% of project Value at 12% GST and 30% of project Value will be at 18% GST). GST will be as applicable at the time of invoice.
| For EcoSoch Solar AUTHORISED SIGNATORY | EcoSoch Scope : Design, procurement of above-mentioned materials, installation and testing of above mentioned on-grid system. Our scope is up to the inverter AC interconnection point. Installation of Solar modules for above mentioned system and Installation of Grid-tied Micro Inverter Supply and Installation of the Aluminum mountings with clamps. Supply and Installation of Junction boxes and Earthing kit. Designing of the Structure and Panel Layout EcoSoch Solar reserves the right to choose an equivalent make based upon the availability of the material at the time of delivery and our assessment during detailed engineering. Customer would be informed of the change beforehand.

## Final Worksheet
Version 2.8 - EcoSoch WorkSheet - Enphase | 2024-01-06 | System Size kWp
Operator Mode | Advanced
Use this mode only during the absense of the customer
Final Worksheet - Enphase IQ8P
Input Table - Customer Details
Sanctioned Load (in kW) | 3 |  | <- System Size> Sanction Load
Phase at premises? | Single Phase
Subsidy Type? | National Subsidy
Input Table - System
Waaree 540Wp Mono PERC DCR
Structure - 1 | Elevated Skeleton (J-Bolt) | 5
Structure - 2
TOTAL No. of Panels
Distance from Office | 5 | kms. (Min: 5kms)
Choice of BoM | Premium Model - Electrical BOS
Margin | 10 | %
Extras
AC Cable Length (Micros to AJB) | 10
AC Cable Length (AJB to Meter Box) | 40
Earthing - Structure | 15
Solar Meter Cubicle Required? | Yes
LA Kit Needed? | No
Warranty Period | 15 Years | (Default: 15 Years)
Cost Breakup
Dynamic Price
/Wp
Extras | 7.5 | /Wp
Installation Price |  | /Wp
Total Dynamic Price /Wp |  | /Wp
Margin - Dynamic Costs
Fixed Costs
Transport + Labour
Liaisoning, Meter and Registration Charges
SolarCare and AMC | 3600 | for 5 Years AMC
Extra Warranties
Extra Services |  | In INR
Services Cost | 5000
Total Fixed Costs |  |  | Margin - Fixed Costs
Total Margin
GST
Total System Cost with 13.8% GST |  |  | /Wp
Subsidy Amount
Input Table - To Generate Quote
Sales Lead | ABC | Go to Mail Body
Quote Number | XYZ
Salutation | Mr.
Customer Name | Prem | Go to Quotation (Summary)
Customer Address | ZYZ
Quote date (dd/mm/yyyy) | 2023-03-29 | Go to Quotation (Breakup)
Quote Validity (days) | 10
Zero Percent EMI - CreditFair
Down Payment 30% of Project Cost
Processing Fees
Amount Financed (70% of Project Cost)
Number of Installments | 6
EMI Amount
Note on D14: Enter the required nos of panels here against the structure Ex: Structure - 1 -> Tiled Roof -> 4 Meaning: 4 Solar Panels on Tiled Roof Structure Similarly for the rows below (if necessary)
Note on C30: EXTRAS COST: Incoming Costs for elevated structures, etc... can be mentioned here.
Note on C39: Extra Services: Services like Meter Name Change, Sanction Load Increase, Panel Shifting, etc.. can be mentioned here.
Note on C53: Address Goes Here This will be entered into the Quote Sheet

## Dynamic Costs
530WpLookupTable
| Structure PEF | 2023-03-21 | 1PH | [5 empty] | 3Ph
|  | No.ofmodules | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | InstallationCosts | Description
Inverter Rating
Item
|  | Premium Model - Electrical BOS | [17 empty] | Premium Model |  | Volatile Costs
|  | Standard Model - Electrical BOS | [17 empty] | Standard Model
|  | EcoSoch Ballast-Single Row | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.275 | 4.275 | 4.275 | 4.275 | 4.275 | 4.275 | 4.275 | 4.275 | 4.275 | 4.275 | 3.5 | Aluminium Channel With Ballasts - Single Row
|  | EcoSoch Ballast-DoubleRow | 4.8 | 4.8 | 4.8 | 4.8 | 4.8 | 4.8 | 4.56 | 4.56 | 4.56 | 4.56 | 4.56 | 4.56 | 4.56 | 4.56 | 4.56 | 4.56 | 3.5 | Aluminium Channel With Ballasts - Double Row
|  | Tiled Roof | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 3.5 | Aluminium Long rails with MS brackets
|  | Elevated Skeleton (J-Bolt) | [16 empty] | 3 | Standard J Bolts made of GI with with nuts/washers
|  | Corrugated Sheet | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | Aluminium Mini Rails
|  | EcoSoch Triangular Ballast | [16 empty] | 3 | Triangular Aluminium structures with ballast
ResultsTable
| InverterRating |  | 1PH 5: kVa; 3Ph 18: Dynamic Cost Margins
| Results |  | 3Ph 12: Automatic Structure Lookup; 3Ph 18: BOS Margins |  |  | <- Now
| Nos of Panels | Parameter | 1PH 4: Str/Wp; 1PH 5: Str Total; 1PH 6: Instln
[11 empty] | EcoSoch Ballast-DoubleRow | [5 empty] | Installation Margin
[11 empty] | Tiled Roof | [5 empty] | Extra Cost Margin
|  | Finolex/Polycab | 1PH 6: BOM Now; 3Ph 12: Elevated Skeleton (J-Bolt); 3Ph 18: Total Dynamic Cost Margin
|  | IS Certified Cables | 3Ph 12: Corrugated Sheet
| BOM Price to Customer |  | 3Ph 12: EcoSoch Triangular Ballast
Structure Cost Now
Installation Cost Now
Installation Price to Customer | bar: 1PH 4 to 1PH 5
Special Structures
[11 empty] | PEF: | 2023-03-25
Wp of module | bar: 3Ph 10 to 3Ph 13
|  | Total no.of modules | 3Ph 10: Item; 3Ph 11: N/Panel; 3Ph 12: /Bolt; 3Ph 13: C/Panel
|  | Capacity | 3Ph 10: J Bolt &Acc; 3Ph 11: 4; 3Ph 12: 25
|  | No.of legs | 1PH 5: No.of columns + 1; 3Ph 11: Nos; 3Ph 12: INR; 3Ph 13: INR
Nos of Panels With J-Bolt
|  | Cost of each leg with clamps & fasteners | 1PH 4: 1575; 1PH 5: 2023-01-09; 1PH 6: PEF
|  | Total cost of legs with clamps & fasteners | 1PH 6: Rs/Wp; 3Ph 10: Panel - Panel Earthing
|  | No.of bricks required in each leg | 1PH 4: 3; 3Ph 10: Total Cost/Wp
|  | Cost of a 6 inch 35kg block | 1PH 4: 55; 1PH 5: 2023-01-09; 1PH 6: PEF
No.of bricks required for the project
Total cost of bricks
|  | Transport cost for MMS, bricks | 1PH 5: 2023-01-09; 1PH 6: PEF
Total cost of legs + ballast
Cost of MMS/Wp | bar: 1PH 4
Earthing for Elevated Structure | bar: 1PH 4 to 1PH 6
|  | Item | 1PH 4: Units; 1PH 5: Price/Unit; 1PH 6: Total Price
|  | Cable AC 1 Core x 6 Sqmm Green Cu PVC FLEX Polycab | 1PH 5: 55
|  | Hex bolt M8x25 mm SS-304, Hex Nut M8 SS-304, 2Plain Washer M8 SS-304, Spring Washer M8 SS-304 | 1PH 5: 13.02
|  | Manual Entry - Rows | 1PH 5: Total
Note on AA9: Costs Change with formula
Note on D16: Calculation Based Cost
Note on F27: BOM Flag: If TopEnd, 1 BaseModel, 0.
Note on E43: Cost of structure without bricks

## Fixed Costs
User Input Table
User Input Table (Derived from Front Sheet)
| Item | Value | Units
Solar Panel
| Panel Wattage |  | Wp
| Nos of Panels |  | nos
| Total kWp |  | kWp
| Site Distance |  | kms
Structure-1
Structure -2
Cable Length (Micros - AJB)
| Cable Length (AJB - MeterBox) |  | mtrs
| Earthing - Structure & AC |  | mtrs
| Earthing - LA |  | mtrs
| Inverter Capacity/Micro |  | Va
kVa
Solar Panel Details
| Panel Costings | [7 empty] | Automatic DCR Panel List
| Name | Make | Wp | Type | DCR? | Cost /Wp | Price Effective Date
|  | Waaree | 540 | Mono PERC | Non-DCR | 23.5 | 2023-08-22 |  | Adani 535Wp Mono PERC Bi-Facial DCR
|  | Waaree | 540 | Mono PERC | DCR | 24.5 | 2023-08-22 |  | Premier 540Wp Mono PERC Bi-Facial DCR
|  | Adani | 535 | Mono PERC Bi-Facial | DCR | 22.75 | 2023-08-22
|  | Premier | 540 | Mono PERC Bi-Facial | DCR | 24.5 | 2023-08-22
COST NOW
Liaisoning
| Liaisoning Costs |  |  |  |  | Registration and PPA Costs
| Min | Max | Liaisoning Cost | Price Effective Date |  | Min | Max | Price | Price Effective Date | Comments
| 0 | 4.999 | 11500 | 2021-07-12 |  | 0 | 4.999 |  | 2021-10-04 | 1500+GST+430
| 5 | 9.999 | 17000 | 2021-07-12 |  | 5 | 49.999 |  | 2021-10-04 | 5900+GST+430
| 10 | 19.999 | 26000 | 2021-07-12 |  | 50 | 1000 |  | 2021-10-04 | 15000+GST+430
| 20 | 39.999 | 38000 | 2021-07-12
| 40 | 1000 | 1000 | 2021-07-12 |  | Meter and Calibration Charges
[6 empty] | Min | Max | Price | Price Effective Date | Comments
[5 empty] | Single Phase | 0 | 5 |  | 2021-10-04 | BDM + GM + Calibration charges for BDM
[5 empty] | Three Phase | 5.001 | 17.499 |  | 2021-10-04 | BDM + GM + Calibration charges for BDM
[6 empty] | 17.5 | 49.999 |  | 2021-10-04 | BDM + CM + GM + Calibration charges for 2 meters + 4 CTs
[6 empty] | 50 | 1000 |  | 2021-10-04 | BDM + CM + GM + Calibration charges for 2 meters + 3 CTs
Liaison, Regn, PPA, Meter and Clbrn
Project Size
[6 empty] | Liaison Cost |  | System Size Lookup
[6 empty] | Regn Cost |  | System Size Lookup
[6 empty] | Meter Cost |  | if three phase then lookup sanction load from blue table, if single phase orange table
Total
Transport & Labour
Labour Cost Lookup Table
| Max kWp | Without Ballast | Ballast | PEF
| 5 |  |  | 2023-01-05
| 10 |  |  | 2023-01-05
| 20 |  |  | 2023-01-05
| Labour Cost Now |  | Ballast Present?
TRANSPORT + Labour COST
| Max kWp | Distance to site | 5 | 10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 | 190 | 200
| 5 | Boloro | 1000 | 1500 | 2000 | 3000 | 3500 | 4000 | 5000 | 5500 | 6000 | 7000 | 7500 | 8000 | 9000 | 9500 | 10000 | 11000 | 11500 | 12000 | 13000 | 13500 | 14000
| 10 | 407 | 2000 | 2500 | 3000 | 4000 | 4500 | 5000 | 6000 | 6500 | 7000 | 8000 | 8500 | 9000 | 10000 | 10500 | 11000 | 12000 | 12500 | 13000 | 14000 | 14500 | 15000
| 50 | Eicher | 3000 | 3500 | 4000 | 5000 | 5500 | 6000 | 7000 | 7500 | 8000 | 9000 | 9500 | 10000 | 11000 | 11500 | 12000 | 13000 | 13500 | 14000 | 15000 | 15500 | 16000
Transport cost | bar: 5 to 10
Warranties
Warranty Costs
| Item | Costs
| 10 Years | 0
| 15 Years | 0
| 20 Years | 559
| 25 Years | 1295
Warranty Cost Now
Margins
GST | bar: 5
13.8% | bar: 5
Subsidy
Inverter vs Panel. (Subsidy for the lowest rating) | bar: 5
| Inverter Rating | DC Capacity | 5: Lowest
National Subsidy Lookup Table | bar: 5
| kWp | Base Subsidy | 5: Incriment/kW
| 3 | 18000
| 10 | 9000
| >10 | 117000 | 5: 0
| TOTAL |  | 5: INR
Subsidy Result Sheet
| kWp | Subsidy Amt
| Not Applicable | 0
National Subsidy
Subsidy NOW
CreditFair EMI
|  | Processing Fees | 5: 1499; 20: Loan AMT
| EMI Plan | Total EMIs | 5: Payable in Advance; 10: EMIs Remaining; 20: Annual Interest rate % changed to customer; 30: Subvention to Customer; 40: EMI; 50: Upfront from customer to EcoSoch; 60: 1st Phase Disbursement 50% from CreditFair to EcoSoch; 70: 2nd Phase Disbursement 50% from CreditFair to EcoSoch (After 20 days); 80: Total Amount Received by EcoSoch
0% EMI Plans
| 6 Month Option | 6 | 5: 30%; 10: 6; 20: 0%; 30: 4.35%
| Loan Amount | EcoSoch Loss (Loan amount - Payment received by EcoSoch | 5: Margin Impact; 10: Calculated Interest Subvention; 20: Annual Interest for Customer; 30: Loan + Interest for customer; 40: EMI (Loan + Interest)/ Tenure; 50: Total Payable by Customer (Loan + Interest + DP + Fee)
0% EMI Plans | bar: 5 to 70
Note on C3: From 50kW, it is Rs.1000/kW
Note on D19: Wp Value Range: Min: 499 Max: 599
Note on D28: From 50kW, it is Rs.1000/kW
Note on D33: /kW

## Mail Body
Proposal Template
Considerations:
•
•
•
•
| • | The customer needs to provide a suitable area for the ACDB near the BESCOM main meter cubicle.
•
| • | The customer needs to provide an internet connection to Enphase's remote monitoring device called Envoy.
•
•
•
If you have any doubts kindly let me know. Looking forward to working with you.

## Enphase Accessories
BOM Name | Price | PEF | Max VA | MAX O/P I
Inverter Enphase IQ 8P 450W micro |  | 2023-11-16 | 480 | 2.07
Cable Enphase Q Cable | 625 | 2023-03-08
Enphase Branch Terminator | 620 | 2023-03-08
Solar Monitoring Enphase Envoy S | 12500 | 2023-03-08
Phase Coupler Legrand 16W22-036 | 8500 | 2023-03-08
Enphase Q-RELAY-3P-INT | 5000 | 2023-03-08
Contactor MZ201 HAGER AUX 1NO/1NC | 950 | 2023-03-23
Panel Connector MC4 w/ Lugs Staubli | 85 | 2023-03-13
Note on E5: Sandesh: IQ8P comes along Q cable so I will be deducting the extra Q cable cost in formula. Cost of IQ8P inverter - Rs. 8500

## BOM - Premium
EcoSoch Solar Pvt Ltd - Premium Enphase Model
Client Name | [6 empty] | System Size:
BoM Prep by | [6 empty] | Date:
Roof Type | [6 empty] | System Type: | On - Grid
Project ID | [6 empty] | Solar Panel Wp
Filter | Description | QTY | Alternate QTY | A | P/L | Extra | Return | Comments |  | Total Cost @ Actuals | Price for Customer | PEF | Hard Coded | External Sheet Link | Within Sheet (Formula) | Editable Field
Panel | [12 empty] | Legend
Enphase & Accessories
These Values for both Premium and Standard models remain the same
1
Enphase Q-RELAY-3P-INT
2023-10-03
Module Mounting Structure
Structure Chosen by Sales | [12 empty] | Editable Cells are Hidden, Unhide it for Detailed Specification
Meter Cubicle
[13 empty] | Cable Lengths |  |  |  |  | Cable Defaults
AC Distribution Box | [12 empty] | Item |  |  |  | Qty in meter | Defaults | Extra | Extra Cost
[13 empty] | LA Earthing |  |  |  |  | 10
[13 empty] | AC Cable from Micro Inverter to AJB |  |  |  |  | 10
[13 empty] | AC Cable from AJB to Bescom Meter |  |  |  |  | 10
[13 empty] | Structure Earthing |  |  |  |  | 10
Cost & Price Summary
[13 empty] | BoM Cost@Actuals |  | BoM Cost @ Actuals @/Watt
[13 empty] | Price to Customer |  | Price to Customer
AJB
2023-10-03
2023-10-03
2023-10-03
Cables
Earthing
Panel - Panel Earthing (if)
Hex bolt M8x25 mm SS-304, Hex Nut M8 SS-304, 2Plain Washer M8 SS-304, Spring Washer M8 SS-304
Cable Lugs
End Sleeves
Twin Ferrules
Conduits
Conduit & Acc
Other Accessorires
Screws
Wall Plugs
Tapes
Cable Tie
1
1
| Buffer on Electrical Components | 10% | [5 empty] | Electrical Components P -> |  |  |  | 2023-03-24
[9 empty] | Cost @Actuals -> |  |  | <- Price to Customer
Margin Amount - Excluding Buffer
Editable Cells (E Coloumn) for Alternate Quantities are Hidden, Unhide it for Alternate Entery, HIDE IT BACK while creating PDF
Note on P7: Hard Coded: The Values are written in into the cells with no formulae whatsoever.
Note on Q7: External Sheet Link: Values are calculeted from another sheet in the workbook.
Note on R7: Within Sheet (Formula): Values are calculated based on other values inside the sheet.
Note on S7: Editable Field: In case there are some Components/fields,missing/hidden, cells here are unlocked for the same operation.
Note on D59: Earth Rod: Is 1 + LA (if)
Note on D60: Earthng Chamber: Equal to nos of earth rod.
Note on D61: Lightning Arrerster: If in worksheet, the LA Kit is chosen to be "Yes", then 1, else 0.
Note on D62: Backfill Compound: Equal to Number of Earth Rods
Note on D63: Structure Earthing Cable: Chosen Length in worksheet or min. default is considered.
Note on D64: Cable Clips for Earthing: Equals to length of Structure Earthing Cable + 5
Note on D65: LA Earthing Cable: If LA Kt is needed then it's length chosen in the final worksheet, if min. 10mtr.
Note on D66: Cable Clips for Earthing: Equals to length of LA Earthing Cable + 5
Note on D67: Hex Bolts Nos Earthing Pit + 2
Note on A68: Panel Panel Earthing: If J-Bolt is the selected Structure, then Panel-Panel Earthing wil be present.
Note on D68: Panel - Panel Earthng: Will Refer from Dynamic Cost sheet where Structure calculation s done.
Note on D87: Suraj Kumar: IF ELEVATED/SHEET ROOF 40, 15
Note on D90: Suraj Kumar: LA - 4 METER BOX - 4
Note on J109: For Reference only: For Quotation Breakdown Sheet.

## Backend(Premium)
User Input Section, legend
| Chosen AC Cabling & Earthing |  |  | Chosen Inverter |  |  | Electricals
| Parameter | VALUE |  | Parameter | VALUE |  | Parameter | Length |  |  | Heading
| Micros to AJB |  |  | Model |  |  | DC Capacity (kWp) |  |  |  | Sub-Heading
| AJB To Meter Box | [5 empty] | Phase at Premisis? |  |  |  | Value is formula based
| LA(if) + Structure Earthing |  |  | Datasheet - Inverter |  |  | Phase Chosen for INV? |  |  |  | Hard Coded
|  |  |  | Type | Micros |  | Three Phase System? |  |  |  | User Input/Editable
| Chosen Solar Panel |  |  | Nos |  |  | TOTAL AC Output (kW) |  |  |  | <BLANK>
| Parameter | VALUE |  | Phase | 1 |  | kW/Phase |  |  |  | Written Data
| Model |  |  | Max O/P Power (VA)
| Panel Datasheet |  | /Wp | Max Current/inv
| Max Rated Wp @STC | 525
Nos
Cabling Calculation Section
AC Cable Types
| Max AC O/P | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50 | 55 | 60 | 65 | 70 | 75 | 80 | 85 | 90 | 95 | 100 |  | Name | BoM Name | Core | sq.mm | Conductor | Make | Conduit | Price/m | PEF
| 0.5 | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu |  | 1Ph Cables
|  | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu |  |  |  | 2 | 2.5 | Cu | Polycab | 20 | 55 | 2023-03-11
|  | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu |  |  |  | 2 | 4 | Cu | Polycab | 25 | 82 | 2023-03-11
|  | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu |  |  |  | 2 | 6 | Cu | Polycab | 25 | 117 | 2023-03-11
|  | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu |  |  |  | 2 | 10 | Cu | Polycab | 32 | 198 | 2023-03-11
|  | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | [5 empty] | 2 | 1.5 | Cu | Polycab | 20 | 34 | 2023-03-13
|  | 2C x 2.5 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu
|  | 2C x 2.5 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | [8 empty] | 3Ph Cables
|  | 15: 2C x 4 sq.mm ¦Cu; 20: 2C x 4 sq.mm ¦Cu; 25: 2C x 6 sq.mm ¦Cu; 30: 2C x 6 sq.mm ¦Cu; 35: 2C x 6 sq.mm ¦Cu; 40: 2C x 10 sq.mm ¦Cu; 45: 2C x 10 sq.mm ¦Cu; 50: 2C x 10 sq.mm ¦Cu; 55: 2C x 10 sq.mm ¦Cu; 60: 2C x 10 sq.mm ¦Cu |  |  |  | 4 | 1.5 | Cu | Polycab | 20 | 67 | 2023-03-13
|  | 15: 2C x 4 sq.mm ¦Cu; 20: 2C x 4 sq.mm ¦Cu; 25: 2C x 6 sq.mm ¦Cu; 30: 2C x 6 sq.mm ¦Cu; 35: 2C x 10 sq.mm ¦Cu; 40: 2C x 10 sq.mm ¦Cu; 45: 2C x 10 sq.mm ¦Cu; 50: 2C x 10 sq.mm ¦Cu; 55: 2C x 10 sq.mm ¦Cu |  |  |  | 4 | 2.5 | Cu | Polycab | 20 | 107 | 2023-03-11
[23 empty] | 4 | 4 | Cu | Polycab | 32 | 153 | 2023-03-11
| 5 | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu |  | Earthing Cable Types
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu |  |  |  | 1 | 16 | Al | Generic | 25 | 23 | 2023-03-11
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu |  |  |  | 1 | 6 | Cu | Kalinga | 20 | 30 | 2023-03-03
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu |  |  |  |  | 1 | 6 | Cu | Polycab | 25 | 55 | 2023-03-03
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu |  |  |  |  | DC Cable Types
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu |  |  |  |  | Name | BoM Name | Core | sq.mm | Conductor | Make | Colour | Price/m | PEF
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | [8 empty] | 1 | 4 | Cu | Polycab | Red | 38 | 2023-03-03
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | [9 empty] | 1 | 4 | Cu | Polycab | Black | 38 | 2023-03-03
Value Table | bar: 15
| Parameter | 15: Value
| AC Capacity | 30: Cabling, Conduit & Lugs Result Table - AJB to Meter Box
| Cable Length | 30: Parameter; 35: Value; 40: Quantity
| Inverters | 30: Cable
| Cable Needed (AJB - METER) | 30: Cable sq.mm; 40: -
| Cable Needed (MICRO TO AJB) | 30: Conduit Required; 40: -
End Sleeve
Twin Ferrules
| Cabling, Conduit & Lugs Result Table - Micros to AJB | 30: Conduit & Accessories - AJB to Meter Box; 50: Cabling, Conduit & Lugs Result Table - DC; 70: Cabling, Conduit & Lugs Result Table - Envoy & Spare Wiring
| Parameter | 15: Value; 20: Quantity; 30: Pipe; 50: Parameter; 55: Value; 70: Parameter; 75: Req. sq.mm; 80: Value; 85: Nos
| Cable | 20: -; 30: Bend; 50: Cable; 70: Wiring for OVCD, Contactor; 75: 1.5
| Cable sq.mm | 20: -; 30: Elbow; 50: Cable; 70: End Sleeve for SPD; 75: 6
| Conduit Required | 20: -; 25: /m; 30: Clamp; 50: Cable Sq.mm; 70: Ring Lugs for Structure, Meter Box; 75: 4-6x8
End Sleeve
Twin Ferrule
Accessories Section (MCBs, DCDBs)
| Available MCBs | 55: Back to BOM-Premium Sheet | [7 empty] | Available MCB Combination
| 1Ph | [18 empty] | [' | [6 empty] | Phase | Pole | Amps | bar: 15 to 30
| Name | 15: Rated Amps; 20: Poles; 25: Make; 30: Price | [7 empty] | 1 | 2 | 10
|  | 15: 10; 20: 2; 25: ABB; 30: 380; 60: PEF; 65: 2023-03-11 | [7 empty] | 3 | 3 | 16
|  | 15: 16; 20: 2; 25: ABB; 30: 380; 60: SPDs | [8 empty] | 4 | 20
|  | 15: 20; 20: 2; 25: ABB; 30: 380; 60: Name; 65: Model; 70: Make; 75: Price | [9 empty] | 25
|  | 15: 25; 20: 2; 25: ABB; 30: 380; 60: 1Ph | [9 empty] | 32
|  | 15: 32; 20: 2; 25: ABB; 30: 420; 65: DS240S-280; 70: Citel; 75: 1245 | [9 empty] | 40
|  | 15: 40; 20: 2; 25: ABB; 30: 420; 60: 3Ph | [9 empty] | 63
|  | 63 | 2 | ABB | 420 | [6 empty] | DS440S-280/G | Citel | 2485
[6 empty] | MCB Results Table |  |  |  |  | OVCDs
[6 empty] | Parameter | Value |  |  |  | 1Ph
[6 empty] | Total O/P Current of all inverters |  |  |  |  | Overvoltage Relay SM500-MG73BF GIC |  |  | 1500
[6 empty] | Saftey Factor | 1.25 |  |  |  | 3Ph
[6 empty] | Max Current/Inv |  |  |  |  | OverVoltage and UnderVoltage Monitoring Device 900VPR-280/520 Selec |  |  | 1240
[6 empty] | Inverters/Ph |  |  |  |  | Contactors
| 3Ph | 35: Current/Ph; 60: 1Ph
|  | 10 | 4 | Chint | 743 | Chosen MCB (MAIN) |  |  |  |  | Contactor NCH8- 20-20-220/230V 50/60hz Chin |  |  | 292
|  | 16 | 4 | Chint | 743 | Price of MCB |  |  |  |  | 3Ph
|  | 20 | 4 | Chint | 743 | Chosen MCB (Envoy) |  |  |  |  | Contactor NCH8-25/40 220/230V Chint Sugi |  |  | 470
|  | 25 | 4 | Chint | 743 | Price of MCB |  |  |  |  | Enclosures
|  | 32 | 4 | Chint | 743 | [5 empty] | 1Ph
|  | 40 | 4 | Chint | 790 | AJB |  |  |  |  | Maruthi Switch Gear Meter 400*500*120 - ACDB |  |  | 2550
|  | 63 | 4 | Chint | 809 | Parameter | Quantity | Price per Single Quantity |  |  | 3Ph
[6 empty] | KF 1000H | 1 | 840 |  |  | Maruthi Switch Gear Meter 400*500*120 - ACDB |  |  | 2550
[6 empty] | Connector N10 | 5 | 23.6
[6 empty] | Connector DB16 | 1 | 260
| PEF | 15: 2023-03-04
| PEF | 15: 2023-03-11
ACDB Componenets Table | bar: 15 to 30
| Type | 15: Item; 20: Quantity; 25: Price/unit; 30: Price
AC SPD | bar: 20
AC MCB (Main MCB) | bar: 20
AC MCB (Envoy MCB) | bar: 20
DB Box
OVCD
Contactor
| End Connector | 15: Connector End ConnectWell; 20: 5; 25: 14
| Accessories | 15: Spare Accessories (Wiring, etcc); 20: 1; 25: 200
TOTAL
Earthing
Earthing Equipment - Premium Model | bar: 15 to 20
| Parameter | 15: Cable Lugs; 20: Price
| Earth Rod | 15: Earth Rod - 1.2m; 20: 500
| Earthing Chamber | 15: Earthing Chamber - EPC02L; 20: 450
| Lightning Arrester | 15: Lightning Arrester - 1.2m; 20: 1080
| Backfill Compound | 15: 10kG Backfill Compound; 20: 250
LA Cable | bar: 15
| LA Accessories | 15: Cable Clips for 16sq.mm Al Cable; 20: 6
Structure Earthing | bar: 15
| Structure Earthing Accessories | 15: Cable Clips for 16sq.mm Al Cable; 20: 6
| LA Mounting Accessories | 15: Hex bolt M8x25 mm SS-304, Hex Nut M8 SS-304, 2Plain Washer M8 SS-304, Spring Washer M8 SS-304; 20: 26.04
| Cable Accessories/Panel | 15: 6 sq.mm SS Bolts + Washers +Nuts+Ring Lugs; 20: 12.09
| Body + SPD Earthing Accessories | 15: M8 x 25 Bolt Nut (Full Set) x1 + 6x8mm Ring Lugs x1 + Twin Lugs 6 sq.mm x 5 + End Sleeve 6 sq.mm x5; 20: 12.09
| PEF | 15: 2023-03-06
Accessories Section (MCBs, DCDBs)
| PEF | 15: 2023-03-04
Conduit Types | bar: 15 to 30
| Conduit | 15: mm; 20: Material; 25: Make; 30: Conduit Price/m; 40: PEF; 45: 2023-03-14
|  | 20 | MMS | Precision |  |  | Female Bush Adaptor
|  | 25 | MMS | Precision |  |  | Name | sq.mm | Type | Price
|  | 32 | MMS | Precision |  |  |  | 20 | OBO | 12
| Bend | 25: Make; 30: Bend Price; 45: 25; 50: OBO; 55: 12
|  | 20 |  | Precision | 6.525 |  |  | 32 | OBO | 22
|  | 25 |  | Precision | 10.1
|  | 32 |  | Precision | 32
| Collar | 25: Make; 30: Collar Price
|  | 20 |  | Precision | 3.5 |  | PEF | 2023-03-14
|  | 25 |  | Precision | 3.7 |  | Gland
|  | 32 |  | Precision | 5 |  | Name | sq.mm | Type | Price
| Clamp | 20: Screws?; 25: Type & Make; 30: Clamp Price; 45: 20; 50: OBO; 55: 37
|  | 20 | With Screws | Round 'U' Clip - Precision |  |  |  | 25 | OBO | 55
|  | 25 | With Screws | Round 'U' Clip - Precision |  |  |  | 32 | OBO | 110
|  | 32 | With Screws | OBO Quick Clamp | 18
| Elbow | 25: Make; 30: Clamp Price
|  | 20 |  | Precision | 5.875
|  | 25 |  | Precision | 7.5 |  | PEF | 2023-03-21 | Req?
|  | 32 |  | Precision | 12.7 |  | Meter Cubicle
[7 empty] | Name | Dimensions, Ph | Make | Price
| Multiplication Factor/m (Multiplied by Cable Length) | 45: 800*400, 1; 50: Maruthi Switch Gear; 55: 5200
| Conduit (Lengths of Pipe) | 15: Bend; 20: Collar; 25: Clamp; 30: Elbow; 45: 800*400, 3; 50: Maruthi Switch Gear; 55: 5200
| 0.333 | 15: 1.4; 20: 1; 25: 1; 30: 1
[7 empty] | PEF | 2023-03-25
Indication Lamp
| PEF | 15: 2023-03-04; 40: Indication Lamp Green; 55: 70
| End Sleeve | 40: Indication Lamp-RYB; 55: 70
| Name | 15: Type; 20: sq.mm; 25: Price
|  | End Sleeve | 2.5 | 1.5
|  | End Sleeve | 4 | 2
|  | End Sleeve | 6 | 2
|  | End Sleeve | 10 | 6
Twin Ferrules | bar: 15 to 25
|  | Twin Ferrules | 2.5 | 1
|  | Twin Ferrules | 4 | 2.5
|  | Twin Ferrules | 6 | 3.5
|  | Twin Ferrules | 10 | 2
Ring Lugs | bar: 15 to 25
|  | Ring Lugs | 4-6x8 | 5
Other Components | bar: 15 to 30
| Name | 20: Cost/Unit; 25: PEF; 30: Description
| Maruti Switch Gear Meter 400*800*200 -Solar + ACDB | 20: 5200; 25: 2023-03-13; 30: Metal Cladding to House Meter Box and ACDB
| Hensel KF 1000H | 20: 820; 25: 2023-03-13; 30: AJB in case of 3Ph Systems
| Connector DB16 ConnectWell | 20: 290; 25: 2023-03-13; 30: For 3Ph Systems
| Connector N10 ConnectWell | 20: 23; 25: 2023-03-13; 30: End Connectors
| RJ45 Solar Monitoring Cat-log Connector | 20: 5; 25: 2023-03-13; 30: Envoy LAN Cable Connection (if)
| Panel Connector MC4 w/ Lugs Staubli | 20: 85; 25: 2023-03-13; 30: MC4 For Solar Side Connections
| Plain Washer M5 SS-304 | 20: 0.45; 25: 2023-03-13; 30: Washes for Screws
| Self Threaded Screw 1 Inch CSK SS-304 + Wall Plug | 20: 4.12; 25: 2023-03-13; 30: -
| Self Tapping Screw 1/2 Inch CSK SS-304 + Wall Plug | 20: 1.8; 25: 2023-03-14; 30: -
| Self Tapping Screw 1 1/2 Inch PAN SS-304 + Wall Plug | 20: 5.8; 25: 2023-03-13; 30: -
| Hex coach screw M8x50 SS-304 | 20: 33.18; 25: 2023-03-14
| Silicon Sealant Clear GP Walker 280 ml | 20: 175; 25: 2023-03-13; 30: Silicon for sealing conduits
| Insulation Tape Red | 20: 18; 25: 2023-03-13; 30: -
| Insulation Tape Yellow | 20: 16; 25: 2023-03-13; 30: -
| Insulation Tape Blue | 20: 18; 25: 2023-03-13; 30: -
| Insulation Tape Black | 20: 18; 25: 2023-03-13; 30: -
| Insulation Tape Green | 20: 18; 25: 2023-03-13; 30: -
| Female Bush Adaptor UPVC 20 mm | 20: 12; 25: 2023-03-13; 30: Pipe termination for metal cladding
| Gland 20 Sqmm OBO | 20: 37; 25: 2023-03-13; 30: Wire Termination for Metal Cladding
| Cable Tie 295mm Black | 20: 3; 25: 2023-03-13; 30: -
| Cable Tie 100 mm White Paruma | 20: 0.5; 25: 2023-03-13; 30: -
| Din Mounting Rail Mtrs | 20: 66; 25: 2023-03-13; 30: For mounting ACDB Componenta
| Signs Stickers Waterproof | 20: 250; 25: 2023-03-13; 30: Stickering for identification of componenets
| Cable Tie Mounting Base White | 20: 10; 25: 2023-03-13
| Signs Boards Bescom Meter Reading sheet Laminated 3 Phase & 1 Phase | 20: 30; 25: 2023-03-13; 30: BESCOM Meter Reading Procedure
| Cable Tie 100 mm White Paruma | 20: 0.9; 25: 2023-03-13; 30: -
| Cable Tie Mounting Base White | 20: 10; 25: 2023-03-13; 30: -
| Spiral 6 MM | 20: 120; 25: 2023-03-13; 30: For wiring inside the ACDB
| LED Indicator with Buzzer | 20: 150; 25: 2023-03-25; 30: Indication Lights
| Toggle Switch | 20: 70; 25: 2023-03-14; 30: ACDB Buzzer Enable/Disable
| Wall Plugs 8x50 | 20: 4.88; 25: 2023-03-14; 30: For holding screws in walls
| Wall Plugs 6x20 | 20: 3; 25: 2023-03-13; 30: For holding screws in walls
Note on L5: Value is Formula Based: These values are generated and are locked for edits.
Note on L6: Hard Coded: These values are basis for lookups, formulae dependent reference values. These values can be changed but with caution. Although, these cells are locked for sanity.
Note on L8: Empty Cell(s) in table Indicates Future Addition of components
Note on L9: Written Data: Intended for info & refernce only.
Note on H55: End Sleeve: For 1Ph, 20, For 3Ph, 40
Note on H56: Twin Ferrules: Only in Meter Box For 1Ph, 5 For 3Ph, 20
Note on Q59: Wiring for OVCD, Contactor For 1Ph - 2 For 3Ph - 2
Note on Q60: End Sleeve for SPD: 1Ph - 3 3Ph - 5
Note on D62: End Sleeve: 1Ph - 4 3Ph - 8
Note on D63: Twin Ferrule: 1Ph - 3 3Ph - 6
Note on D107: If Meter Cubicle is Supplied, then there will be space for Accessories. No need of Box.

## BOM - Standard
Ecosoch Solar Pvt Ltd - Standard Enphase Model
Client Name | [6 empty] | System Size:
BoM Prep by | [6 empty] | Date:
Roof Type | [6 empty] | System Type: | On - Grid
Project ID | [6 empty] | Solar Panel Wp
Filter | Description | QTY | Alternate QTY | A | P/L | Extra | Return | Comments |  | Total Cost @ Actuals | Price for Customer | PEF | Hard Coded | External Sheet Link | Within Sheet (Formula) | Editable Field
Panel
Enphase & Accessories
These Values for both Premium and Standard models remain the same
1
Enphase Q-RELAY-3P-INT
2023-10-03
Module Mounting Structure
Structure Chosen by Sales | [12 empty] | Editable Cells are Hidden, Unhide it for Detailed Specification
Meter Cubicle | [12 empty] | Cable Lengths
[17 empty] | Qty in meter | Values are from BOM (Premium Sheet)
AC Distribution Box | [12 empty] | LA Earthing
AC Cable from Micro Inverter to AJB
AC Cable from AJB to Bescom Meter
Structure Earthing
Arranging, Packing/Loading, Extra, Return
[13 empty] | BoM Cost@Actuals |  | BoM Cost @ Actuals @/Watt
Cables | [12 empty] | Price to Customer |  | Price to Customer
AJB-MTR
MIC-AJB
DC Cables
AJB
2023-10-03
2023-10-03
2023-10-03
Earthing
Structure Earthing Cable
LA Earthing Cable (if)
Panel - Panel Earthing (if)
Hex bolt M8x25 mm SS-304, Hex Nut M8 SS-304, 2Plain Washer M8 SS-304, Spring Washer M8 SS-304
Cable Lugs
End Sleeves
Twin Ferrules
Conduits
Conduit & Acc
Other Accessorires
Screws
Wall Plugs
Tapes
Cable Tie
2
1
| Buffer on Electrical Components | 10% | [5 empty] | Electrical Components P -> |  |  |  | 2023-03-24
[9 empty] | Cost @Actuals -> |  |  | <- Price to Customer
Margin Amount - Excluding Buffer
Editable Cells (E Coloumn) for Alternate Quantities are Hidden, Unhide it for Alternate Entery, HIDE IT BACK while creating PDF
Note on P7: Hard Coded: The Values are written in into the cells with no formulae whatsoever.
Note on Q7: External Sheet Link: Values are calculeted from another sheet in the workbook.
Note on R7: Within Sheet (Formula): Values are calculated based on other values inside the sheet.
Note on S7: Editable Field: In case there are some Components/fields,missing/hidden, cells here are unlocked for the same operation.
Note on D50: Earth Rod: Is 1 + LA (if)
Note on D51: Earthng Chamber: Equal to nos of earth rod.
Note on D52: Lightning Arrerster: If in worksheet, the LA Kit is chosen to be "Yes", then 1, else 0.
Note on D53: Backfill Compound: Equal to Number of Earth Rods
Note on D54: Structure Earthing Cable: Chosen Length in worksheet or min. default is considered.
Note on D55: Cable Clips for Earthing: Equals to length of Structure Earthing Cable + 5
Note on D56: LA Earthing Cable: If LA Kt is needed then it's length chosen in the final worksheet, if min. 10mtr.
Note on D57: Cable Clips for Earthing: Equals to length of LA Earthing Cable + 5
Note on D58: Hex Bolts Nos Earthing Pit + 2
Note on D59: Panel - Panel Earthng: Will Refer from Dynamic Cost sheet where Structure calculation s done.
Note on D78: Suraj Kumar: IF ELEVATED/SHEET ROOF 40, 15
Note on D81: Suraj Kumar: LA - 4 METER BOX - 4
Note on J95: For Reference only: For Quotation Breakdown Sheet.

## Backend(Standard)
User Input Section, legend
| Chosen AC Cabling & Earthing |  |  | Chosen Inverter |  |  | Electricals
| Parameter | VALUE |  | Parameter | VALUE |  | Parameter | Length |  |  | Heading
| Micros to AJB |  |  | Model |  |  | DC Capacity (kWp) |  |  |  | Sub-Heading
| AJB To Meter Box | [5 empty] | Phase at Premisis? |  |  |  | Value is formula based
| LA(if) + Structure Earthing |  |  | Datasheet - Inverter |  |  | Phase Chosen for INV? |  |  |  | Hard Coded
|  |  |  | Type | Micros |  | Three Phase System? |  |  |  | User Input/Editable
| Chosen Solar Panel |  |  | Nos |  |  | TOTAL AC Output (kW) |  |  |  | <BLANK>
| Parameter | VALUE |  | Phase | 1 |  | kW/Phase |  |  |  | Written Data
| Model |  |  | Max O/P Power (VA)
| Panel Datasheet |  | /Wp | Max Current/inv
| Max Rated Wp @STC | 525
Nos
Cabling Calculation Section
AC Cable Types
| Max AC O/P | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50 | 55 | 60 | 65 | 70 | 75 | 80 | 85 | 90 | 95 | 100 | Name | BoM Name | Core | sq.mm | Conductor | Make | Conduit | Price/m | PEF
| 0.5 | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 1Ph Cables
|  | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu |  |  | 2 | 2.5 | Cu | Neelgagan | 20 | 37 | 2023-03-17
|  | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu |  |  | 2 | 4 | Cu | Neelgagan | 25 | 54 | 2023-03-17
|  | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu |  |  | 2 | 6 | Cu | Neelgagan | 25 | 93 | 2023-03-17
|  | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu |  |  | 2 | 10 | Cu | Neelgagan | 32 | 151 | 2023-03-17
|  | 2C x 2.5 sq.mm ¦Cu | 2C x 2.5 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu |  |  |  |  | 2 | 1.5 | Cu | Neelgagan | 20 | 35 | 2023-03-17
|  | 2C x 2.5 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu
|  | 2C x 2.5 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 4 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 6 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | 2C x 10 sq.mm ¦Cu | [7 empty] | 3Ph Cables
|  | 15: 2C x 4 sq.mm ¦Cu; 20: 2C x 4 sq.mm ¦Cu; 25: 2C x 6 sq.mm ¦Cu; 30: 2C x 6 sq.mm ¦Cu; 35: 2C x 6 sq.mm ¦Cu; 40: 2C x 10 sq.mm ¦Cu; 45: 2C x 10 sq.mm ¦Cu; 50: 2C x 10 sq.mm ¦Cu; 55: 2C x 10 sq.mm ¦Cu; 60: 2C x 10 sq.mm ¦Cu |  |  | 4 | 1.5 | Cu | Polycab | 20 | 60 | 2023-03-17
|  | 15: 2C x 4 sq.mm ¦Cu; 20: 2C x 4 sq.mm ¦Cu; 25: 2C x 6 sq.mm ¦Cu; 30: 2C x 6 sq.mm ¦Cu; 35: 2C x 10 sq.mm ¦Cu; 40: 2C x 10 sq.mm ¦Cu; 45: 2C x 10 sq.mm ¦Cu; 50: 2C x 10 sq.mm ¦Cu; 55: 2C x 10 sq.mm ¦Cu |  |  | 4 | 2.5 | Cu | Polycab | 20 | 68 | 2023-03-17
[22 empty] | 4 | 4 | Cu | Polycab | 32 | 108 | 2023-03-17
| 5 | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | Earthing Cable Types
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu |  |  | 1 | 16 | Al | Generic | 25 | 23 | 2023-03-11
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu |  |  | 1 | 6 | Cu | Kalinga | 20 | 30 | 2023-03-03
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu |  |  |  | 1 | 6 | Cu | Polycab | 25 | 55 | 2023-03-03
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu |  |  |  | DC Cable Types
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu |  |  |  | Name | BoM Name | Core | sq.mm | Conductor | Make | Colour | Price/m | PEF
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | [7 empty] | 1 | 4 | Cu | Polycab | Red | 38 | 2023-03-03
|  | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 2.5 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | 4C x 4 sq.mm ¦Cu | [8 empty] | 1 | 4 | Cu | Polycab | Black | 38 | 2023-03-03
Value Table | bar: 15
| Parameter | 15: Value
| AC Capacity | 30: Cabling, Conduit & Lugs Result Table - AJB to Meter Box
| Cable Length | 30: Parameter; 35: Value; 40: Quantity
| Inverters | 30: Cable
| Cable Needed (AJB - METER) | 30: Cable sq.mm; 40: -
| Cable Needed (MICRO TO AJB) | 30: Conduit Required; 40: -
[5 empty] | End Sleeve |  | 40
[5 empty] | Twin Ferrules |  | 20
| Cabling, Conduit & Lugs Result Table - Micros to AJB | 30: Conduit & Accessories - AJB to Meter Box; 50: Cabling, Conduit & Lugs Result Table - DC; 70: Cabling, Conduit & Lugs Result Table - Envoy & Spare Wiring
| Parameter | 15: Value; 20: Quantity; 30: Pipe; 50: Parameter; 55: Value; 70: Parameter; 75: Req. sq.mm; 80: Value; 85: Nos
| Cable | 20: -; 30: Bend; 50: Cable; 70: End Sleeve for SPD; 75: 6
| Cable sq.mm | 20: -; 30: Elbow; 50: Cable; 70: Ring Lugs for Structure, Meter Box; 75: 4-6x8
| Conduit Required | 20: -; 25: /m; 30: Clamp; 50: Cable Sq.mm
End Sleeve
Twin Ferrule
Accessories Section (MCBs, DCDBs)
| Available MCBs | [24 empty] | Available MCB Combination | bar: 15 to 30
| 1Ph | [24 empty] | Phase | Pole | Amps | bar: 15 to 30
| Name | 15: Rated Amps; 20: Poles; 25: Make; 30: Price | [6 empty] | 1 | 2 | 10
|  | 15: 10; 20: 2; 25: ABB; 30: 380; 60: PEF; 65: 2023-03-11 | [6 empty] | 3 | 3 | 16
|  | 15: 16; 20: 2; 25: ABB; 30: 380; 60: SPDs | [7 empty] | 4 | 20
|  | 15: 20; 20: 2; 25: ABB; 30: 380; 60: Name; 65: Model; 70: Make; 75: Price | [8 empty] | 25
|  | 15: 25; 20: 2; 25: ABB; 30: 380; 60: 1Ph | [8 empty] | 32
|  | 15: 32; 20: 2; 25: ABB; 30: 420; 60: SPD DS440S-280/G Citel; 65: DS240S-280; 70: Citel; 75: 1245 | [8 empty] | 40
|  | 15: 40; 20: 2; 25: ABB; 30: 420; 60: 3Ph | [8 empty] | 63
|  | 63 | 2 | ABB | 420 | [5 empty] | SPD DS440S-320 3-phase Citel Type 2 | DS240S-280 | Citel | 1245
[6 empty] | MCB Results Table |  |  |  |  | Enclosures
[6 empty] | Parameter | Value |  |  |  | 1Ph
[6 empty] | Total O/P Current of all inverters |  |  |  |  | 220*190*100 Boxmatic |  |  | 380
[6 empty] | Saftey Factor | 1.25 |  |  |  | 3Ph
[6 empty] | Max Current/Inv |  |  |  |  | 280*190*130 Boxmatic |  |  | 595
Inverters/Ph
| 3Ph | 35: Current/Ph
|  | 10 | 4 | Chint | 743 | Chosen MCB (MAIN)
|  | 16 | 4 | Chint | 743 | Price of MCB
|  | 20 | 4 | Chint | 743 | Chosen MCB (Envoy)
|  | 25 | 4 | Chint | 743 | Price of MCB
|  | 32 | 4 | Chint | 743
|  | 40 | 4 | Chint | 790
|  | 63 | 4 | Chint | 809
AJB
[6 empty] | Parameter | Quantity | Price per Single Quantity
[6 empty] | KF 1000H | 1 | 840
[6 empty] | Connector N10 | 5 | 23.6
[6 empty] | Connector DB16 | 1 | 260
| PEF | 15: 2023-03-04
| PEF | 15: 2023-03-11
ACDB Componenets Table | bar: 15 to 30
| Type | 15: Item; 20: Quantity; 25: Price/unit; 30: Price
AC SPD | bar: 20
AC MCB (Main MCB) | bar: 20
AC MCB (Envoy MCB) | bar: 20
DB Box | bar: 20
| End Connector | 15: Connector End ConnectWell; 20: 5; 25: 14
| Accessories | 15: Spare Accessories (Wiring, etcc); 20: 1; 25: 200
TOTAL
Earthing
Earthing Equipment - Standard Model | bar: 15 to 20
| Parameter | 15: Cable Lugs; 20: Price
| Earth Rod | 15: Earth Rod - 1.2m; 20: 450
| Earthing Chamber | 15: Earthing Chamber - EPC02L; 20: 350
| Lightning Arrester | 15: Lightning Arrester - 1.2m; 20: 550
| Backfill Compound | 15: 5kG Backfill Compound; 20: 150
LA Cable | bar: 15
| LA Accessories | 15: Cable Routing Clips; 20: 5.3
Structure Earthing | bar: 15
| Structure Earthing Accessories | 15: Cable Routing Clips; 20: 5.3
| LA Mounting Accessories | 15: Hex bolt M8x25 mm SS-304, Hex Nut M8 SS-304, 2Plain Washer M8 SS-304, Spring Washer M8 SS-304; 20: 26.04
| Cable Accessories/Panel | 15: 6 sq.mm SS Bolts + Washers +Nuts+Ring Lugs; 20: 12.09
| Body + SPD Earthing Accessories | 15: M8 x 25 Bolt Nut (Full Set) x1 + 6x8mm Ring Lugs x1 + Twin Lugs 6 sq.mm x 5 + End Sleeve 6 sq.mm x5; 20: 12.09
| PEF | 15: 2023-03-06
Accessories Section (MCBs, DCDBs)
| PEF | 15: 2023-03-04
Conduit Types | bar: 15 to 30
| Conduit | 15: mm; 20: Material; 25: Make; 30: Conduit Price/Length; 40: PEF; 45: 2023-03-14
|  | 20 | LMS | Precision |  |  | Female Bush Adaptor
|  | 25 | LMS | Precision |  |  | Name | sq.mm | Type | Price
|  | 32 | LMS | Precision |  |  |  | 20 | OBO | 12
| Bend | 25: Make; 30: Bend Price; 45: 25; 50: OBO; 55: 12
|  | 20 |  | Precision | 6.525 |  |  | 32 | OBO | 22
|  | 25 |  | Precision | 10.1
|  | 32 |  | Precision | 32
| Collar | 25: Make; 30: Collar Price
|  | 20 |  | Precision | 3.5 |  | PEF | 2023-03-14
|  | 25 |  | Precision | 3.7 |  | Gland
|  | 32 |  | Precision | 5 |  | Name | sq.mm | Type | Price
| Clamp | 20: Screws?; 25: Type & Make; 30: Clamp Price; 45: 20; 50: OBO; 55: 37
|  | 20 | With Screws | Double Nail Clamp | 4.912 |  |  | 25 | OBO | 55
|  | 25 | With Screws | Double Nail Clamp | 5.158 |  |  | 32 | OBO | 110
|  | 32 | With Screws | Double Nail Clamp | 6.929
| Elbow | 25: Make; 30: Clamp Price
|  | 20 |  | Precision | 5.875
|  | 25 |  | Precision | 7.5 |  | PEF | 2023-03-21 | Req?
|  | 32 |  | Precision | 12.7 |  | Meter Cubicle
[7 empty] | Name | Phase | Make | Price
| Multiplication Factor/m (Multiplied by Cable Length) | 45: 1; 50: Syntex; 55: 1400
| Conduit (Lengths of Pipe) | 15: Bend; 20: Collar; 25: Clamp; 30: Elbow; 45: 3; 50: Syntex; 55: 1900
| 0.333 | 15: 1.4; 20: 1; 25: 1; 30: 1
| PEF | 15: 2023-03-04
End Sleeve | bar: 15 to 25
| Name | 15: Type; 20: sq.mm; 25: Price
|  | End Sleeve | 2.5 | 1.5
|  | End Sleeve | 4 | 2
|  | End Sleeve | 6 | 2
|  | End Sleeve | 10 | 6
Twin Ferrules | bar: 15 to 25
|  | Twin Ferrules | 2.5 | 1
|  | Twin Ferrules | 4 | 2.5
|  | Twin Ferrules | 6 | 3.5
|  | Twin Ferrules | 10 | 2
Ring Lugs | bar: 15 to 25
|  | Ring Lugs | 4-6x8 | 5
Other Components | bar: 15 to 30
| Name | 20: Cost/Unit; 25: PEF; 30: Description
| Syntex Box for 1Ph Solar Meter | 20: 1300; 25: 2023-03-13; 30: Meter Box Only
| Syntex Box for 3Ph Solar Meter | 20: 1800; 25: 2023-03-20
| Hensel KF 1000H | 20: 820; 25: 2023-03-13; 30: AJB in case of 3Ph Systems
| Connector DB16 ConnectWell | 20: 290; 25: 2023-03-13; 30: -
| Connector N10 ConnectWell | 20: 23; 25: 2023-03-13; 30: -
| RJ45 Solar Monitoring Cat-log Connector | 20: 5; 25: 2023-03-13; 30: Envoy LAN Cable Connection (if)
| Panel Connector MC4 w/ Lugs Staubli | 20: 85; 25: 2023-03-13; 30: MC4 For Solar Side Connections
| Plain Washer M5 SS-304 | 20: 0.45; 25: 2023-03-13; 30: Washes for Screws
| Self Threaded Screw 1 Inch CSK SS-304 + Wall Plug | 20: 4.12; 25: 2023-03-13; 30: -
| Self Threaded Screw 1/2 Inch CSK SS-304 + Wall Plug | 20: 1.8; 25: 2023-03-14; 30: -
| Self Tapping Screw 1 1/2 Inch PAN SS-304 + Wall Plug | 20: 5.8; 25: 2023-03-13; 30: -
| Hex coach screw M8x50 SS-304 | 20: 33.18; 25: 2023-03-14
| Silicon Sealant Clear GP Walker 280 ml | 20: 175; 25: 2023-03-13; 30: Silicon for sealing conduits
| Insulation Tape Red | 20: 18; 25: 2023-03-13; 30: -
| Insulation Tape Yellow | 20: 16; 25: 2023-03-13; 30: -
| Insulation Tape Blue | 20: 18; 25: 2023-03-13; 30: -
| Insulation Tape Black | 20: 18; 25: 2023-03-13; 30: -
| Insulation Tape Green | 20: 18; 25: 2023-03-13; 30: -
| Female Bush Adaptor UPVC 20 mm | 20: 12; 25: 2023-03-13; 30: Pipe termination for metal cladding
| Gland 20 Sqmm OBO | 20: 37; 25: 2023-03-13; 30: Wire Termination for Metal Cladding
| Cable Tie 295mm Black | 20: 3; 25: 2023-03-13; 30: -
| Cable Tie 100 mm White Paruma | 20: 0.5; 25: 2023-03-13; 30: -
| Din Mounting Rail Mtrs | 20: 66; 25: 2023-03-13; 30: For mounting ACDB Componenta
| Signs Stickers Waterproof | 20: 250; 25: 2023-03-13; 30: Stickering for identification of componenets
| Signs Boards Bescom Meter Reading sheet Laminated 3 Phase & 1 Phase | 20: 30; 25: 2023-03-13; 30: BESCOM Meter Reading Procedure
| Cable Tie 100 mm White Paruma | 20: 0.9; 25: 2023-03-13; 30: -
| Wall Plugs 8x50 | 20: 4.88; 25: 2023-03-14; 30: For holding screws in walls
| Wall Plugs 6x40 | 20: 3; 25: 2023-03-13; 30: For holding screws in walls
Note on L5: Value is Formula Based: These values are generated and are locked for edits.
Note on L6: Hard Coded: These values are basis for lookups, formulae dependent reference values. These values can be changed but with caution. Although, these cells are locked for sanity.
Note on L8: Empty Cell(s) in table Indicates Future Addition of components
Note on L9: Written Data: Intended for info & refernce only.
Note on H55: End Sleeve: For 1Ph, 10, For 3Ph, 30
Note on H56: Twin Ferrules: Only in Meter Box For 1Ph, 20 For 3Ph, 30
Note on Q59: End Sleeve for SPD: 1Ph - 3 3Ph - 5
Note on D62: End Sleeve: 1Ph - 4 3Ph - 15
Note on D63: Twin Ferrule: 1Ph - 3 3Ph - 6
Note on D107: If Meter Cubicle is Supplied, then there will be space for Accessories. No need of Box.